## PRELIMS Bill 1
GENERAL
Item | Description
SUB-PROJECT PARTICULARS
A |  | Name: | REHABILITATION AND RENNOVATION OF BAKOTEH COMMUNITY DEVELOPMENT CENTRE
B |  | Nature: | Rehabilitation and rennovation works
C |  | Location: | Bakoteh Community Developemnt Centre
Name of Parties
D |  | Employer: | YEP
Bakau
THE SITE IS EXISTING BUILDINGS
M | .1 | The site is located at (BAKOTEH)
DESCRIPTION OF THE WORK
The works which SHALL be implemented comprises of the following:
1. BAKOTEH CENTRE
Rehabilitation of the Main hall and create the necessary space, storages and electrical fittings fit for purpose.
2. Electrical and Mechanical facilities including plumbing, drainage, smoke
detector, lighting, kitchenets and lockers
3. External works
a. The external works comprise of a perimeter fence adjustment to two more courses and provide creepling flowers/trees enough to deter access to intruders
0
E
F
G
H
I
J
K
L
DOORS AND WINDOWS
DOORS
A
B
C
D
E
F
G
H
0
C
D
E
F
G
H
I
J
B
C
D
E
F
G
F
G
H

## RENOVATIONS
BAKOTEH COMMUNITY DEVELOPMENT CENTRE
Item | Description | Qty | Unit | Rate | Dalasi
A | INTERNAL PARTITIONING
1 | Internal partitioning with Aluminium panel to 1m above ground floor level | 40 | m2 |  | 0
2 | Internal partitioning with 6mm thick tinted glass above pine wood partition and to door lintel | 48 | m2 |  | 0
0
B | DEMOLITION, REBUILDING OF WALLS, PAINTING, DECORATION AND PARTITIONING |  |  |  | 0
1 | Demolish existing walls for the admin office to increase the room size. Cart away rubble and clean room | 1 | LS |  | 0
0
2 | Rebuild wall at the new identified location with 150mm thick blockwork. Plaster wall with 12mm thick on both sides. Apply first coat and second with emulsion paint | 20 | m2 |  | 0
3 | Prepare all walls and apply first and second coats emulsion on both sides | 652 | m2 |  | 0
C | CONVERT THE EXTERNAL VERANDA AND PROVIDE ALUMINIUM GLAZING PARTITION
1 | Provide Aluminium glazing to showroom complete with buglar bars security | 48 | m2 |  | 0
2 | Rebuild wall at the new identified location with 150mm thick blockwork. Plaster wall with 12mm thick on both sides. Apply first coat and second with emulsion paint | 20 | m2 |  | 0
| Paster with 12mm thick on both sides | 20 | m2 |  | 0
| Apply 2 coates emulsion to both sides | 20 | m2 |  | 0
D | CEILING
1 | provide ceiling joist with 50 x 75 red timber at 600x1200 centres both ways | 563 | m |  | 0
2 | provide 8mm thick soft plywood and finish with vanish for ceiling cover | 221 | m2 |  | 0
E | DOORS |  |  |  | 0
1 | Cut open walls to provide two fire exit door and cart away rubble | 2 | no |  | 0
2 | Provide two fire exit doors | 2 | no |  | 0
3 | Provide doors to workshops, showroom and office | 6 | no |  | 0
4 | Provide two double doors for the main hall entrance, the showroon and the storage | 3 | np |  | 0
| SUMMARY TOTAL |  |  |  | 0
F | ELECTRICAL SYSTEM
1 | rewire the whole electrical system | 1 | LS |  | 0
2 | Provide light bulbs with LCDs | 18 | no |  | 0
3 | Provide ceiling fans | 16 | no |  | 0
4 | Replace broken windows | 14 | no |  | 0
5 | Testing and Commissioning | 1 | Item
| SUMMARY TOTAL |  |  |  | 0
G | EXTERNAL WORKS
| Level the premises ground and provide paving slabs with concrete M20 mixed in clean laterite with 6mm at 200 centres reinforced both ways | 162 | m3 |  | 0
| provide 8mm reinforcement at 200 centres both ways | 1080 | m2 |  | 0
0
| SUMMARY TOTAL |  |  |  | 0
H | OPEN SHED WORK AREA |  |  |  | 0
1 | Remove existing roof structure, cover completely and cart away | 1 | LS |  | 0
2 | Build new roof structure complete with manufacturers specification to recive Aluzinc 0.45mm thick roofing sheets | 1 | LS |  | 0
3 | Provide Aluzinc roof cover complete with fixings as per manufacturers specifications | 36 | m2 |  | 0
0
I | COVERED AREA |  |  |  | 0
| Remove existing roof structure, cover complete and cart away. | 1 | LS |  | 0
| Provide new hopper, new downpipe and new gutter | 1 | LS |  | 0
| Build new roof structre and provide new aluzinc sheets as cover complete with manufactureres specification | 30 | m2 |  | 0
J | OUTSIDE TOILETS
1 | Provide wall tiles to full height | 13 | m2 |  | 0
2 | Remove existing damaged WC and replace with new | 2 | no |  | 0
3 | Provide new external toilet doors | 2 | no |  | 0
4 | Provide new wash hand basins | 2 | no |  | 0
5 | Inspect plumbing and repair | 1 | LS |  | 0
0
K | SHOWER |  |  |  | 0
1 | Remove existing damage door and replace with new Alutec doors | 1 | no |  | 0
2 | Provide new shower complete with plumbing | 1 | no |  | 0
3 | Prepare walls and provide wall tiles to full height | 10 | m2 |  | 0
0
| SUMMARY TO TOTAL |  |  |  | 0

## PRODUCTION ROOM
PRODUCTION ROOM
Item | Description | Quantity | Unit | Rate | Dalasi
A | SITE CLEARANCE
1 | Clear site around building area
| DEMOLITION |  |  |  | 0
1 | Demolish side wall at the Looming hall and clear out debris for extension hall | 1 | LS |  | 0
0
B | SUBSTRUCTURE |  |  |  | 0
| EXCAVATION AND FILLINGS |  |  |  | 0
1 | Excavate for foundation Trenches 600mm deep x 6000mm wide | 14 | m3 |  | 0
2 | Prepare excavated trencehes and provide 50mm blinding with lean mix C10 | 1 | m3 |  | 0
3 | Construct foundation with 300mm thick strip mass cocrete | 7 | m3 |  | 0
4 | Construct starter blocks with 10N/mm2 concrete blocks solid or hollow fill with lean mix | 16 | m2 |  | 0
C | GROUND FLOOR SLAB
1 | Backfill with hardcore materials/laterite to 250 thick and well compact. | 36 | m3 |  | 0
2 | Anti-termite treatment to foundations trenches with "DURSBAN" or any other approved. | 144 | m2 |  | 0
0
3 | Provide Sand blinding 50mm thick on compacted hardcore | 7 | m3 |  | 0
4 | Damp proof membrane 1200g polythene sheets | 144 | m2 |  | 0
D | CONCRETE |  |  |  | 0
1 | construct ground slab with M20 concrete mix 150 thick in washed laterite aggregates | 22 | m3 |  | 0
E | REINFORCEMENT |  |  |  | 0
1 | Reinforcement; high yield steel bars with 6mm rods at 200 centres or BRC-A142 to ground floor slab |  |  |  | 0
|  | 144 | m2 |  | 0
F | MASONRY |  |  |  | 0
1 | Use 200mm thick cement sand blocks to construct new walls | 137 | m2 |  | 0
0
G | SUPERSTRUCTURE |  |  |  | 0
1 | Plinth beam at ground floor slab level along the perimeter with 200 x 200mm thick of M20 concrete, reinforce with 10mm main bars and 6mm stirrups. | 2 | m |  | 0
0
2 | Lintel beam 200x200mm thick with M20 concrete and 10mm reinforce main bars and 6mm stirrups.
|  | 2 | no |  | 0
H | ROOF |  |  |  | 0
1 | Construct Roof structure with Aluzing prefab C89 -Section components 1.2mm thick | 123 | m |  | 0
0
2 | provide Omega purlins 1.2mm thick at 600 c/c | 272 | m |  | 0
3 | Aluzinc roofing sheets (0.4mm) and accessories; fixing in accordance with manufacturers recommendations. | 158 | m2 |  | 0
0
4 | Extra over aluzinc plate fascia board 150mm depth | 34 | m |  | 0
5 | Aluzinc ridge cap | 18 | m |  | 0
| SUMMARY TO TOTAL |  |  |  | 0
A | FLOOR FINISHES |  |  |  | 0
1 | Unglazed, Porcelain tiles on 35mm thick cement/sand skirting included | 144 | m2 |  | 0
| Skirting tiles to match floor, 100mm | 5 | m2 |  | 0
2 | EXTERNAL WALLS, INTERNAL WALL CSEB 240 BLOCK TYPE |  |  |  | 0
3 | Plaster wall with 12mm thick | 274 | m2 |  | 0
| Prepare wall and apply emulsion | 274 | m2 |  | 0
B | WINDOWS AND DOOR |  |  |  | 0
| WINDOWS |  |  |  | 0
1 | Metal window frame glazed (6mm) with buglar proof and mosquito net. Frame size 1800mm x 1200mm | 9 | NO |  | 0
C | DOORS
1 | High security double door from Alutech or similar | 2 | no |  | 0
| High security single door from Alutech or similar | 1 | no |  | 0
0
D | CEILING FINISHES
| 8mm thick soft plywood ceiling on 50 x 75 treated red timber joist of 600 x 1200 grid spacing. Aply mahagoney clear finish to ceiling |  |  |  | 0
1 | provide ceiling joist with 2 x 3 red timber at 600x1200 centres both ways | 388 | m2 |  | 0
2 | provide 8mm thick soft plywood prepare with 2 coats vanish for ceiling cover | 144 | m2 |  | 0
| SUMMARY TO TOTAL |  |  |  | 0

## TOTAL SUMMARY SHEET
Item | Description | Dalasi
RENOVATION AND REHABILITATION OF MAIN BUIULDING
ELECTRICAL SYSTEM
EXTERNAL WORKS
CONSTRUCTION OF PRODUCTION ROOM
OPEN SHED WORK AREA, COVERED AREA, OUTSIDE TOILETS AND SHOWER
| TOTAL SUMMARY | 0